## Sheet1
GOVERNMENT CO.ED POLYTECHNIC RAIPUR (C.G)
DEPARTMENT OF mechanical
LESSON PLAN
Session:
Session start as per university calendar:
Course Name: Industrial Management and Control
Name of Subject Teacher:
Lecturer plan T+P =
Course code2037474(037)
Discipline: All Branch |  | Semester: 4th |  |  | Class room Instruction Start Date:
S.No. | Chapter No. | Topics | Sub Topic to be covered under this unit | Total hours | No. of periods planned | Actual No of periods taken | Date of Class Conduction | Use of AV resources if any | Remarks if any
1 | 1 | Measurement System. | 1.1 Introduction to measurement and measuring instruments, Classification of measuring Instruments, their characteristics like sensitivity, accuracy, linearity, threshold, resolution, etc. | 13 |  |  |  | NA
1.2 Measuring system, Block diagram with example, stages of measuring system with examples – Stage I input signal (detector transducers), Stage II (intermediate modifying), and Stage III (terminating), Types of input signals.
1.3 Measurement standards :- Time, frequency, Voltage, Current, 3-15 psi etc., ANSI, ASME, ADA, BS, DIN, CSMR, FCI, API, ISI, and introduction Reliability and safety.
1.4 Transducers –primary and secondary transducers, classification, working principle of resistance, inductance, capacitance and piezoelectric transducers with their line sketches, applications of each, sensors, types and applications, difference between transducer and sensor.
2 | 2 | Introduction to Control system | 2.1 Definition , Basic terminology, Objective of control system, Types of Control Systems, Effect of Feedback Systems, | 15 |  |  |  | NA
2.2 Basic elements of open and closed loop system, concept of open loop and closed loop systems, Block diagram of Open loop and closed loop control systems, Effect of feedback,multivariable control systems comparison, Applications and advantage
2.3 Time Response of feedback control systems: Standard test signals -unit step, ramp, impulse and parabolic
2.4 Process Control and its benefits, Basic control actions, Two position or On/Off control, Introduction to PI, PD and PID Controllers.
2.5 Control System Components: construction and working, concept of ac servomotor, synchronous and stepper motor
3 | 3 | Displacement and speed measurement | 3.1 Working principle & use of Potentiometer, Differential transformer (LVDT & RVDT), capacitive element & Optical encoders. | 13 |  |  |  | NA
3.2 Mechanical tachometer, Electrical Tachometer, incremental optical encoder, Eddy current drag cup tachometer.
3.3 Magnetic pickup tachometer, Stroboscopic tachometer, Photoelectric tachometer, non contacting electrical tachometer (inductive pick up & capacitive pick up)
4 | 4 | Temperature measurement | 4.1 Principles of temperature measuring devices – change in physical state, expansion, electrical resistance, ermoelectric emf, intensity of radiation, change in chemical state. | 13 |  |  |  | NA
4.2 Construction, working, measuring range, accuracy, applications, limitations of devices operating on above principles (Bimetal thermometer, pressure spring thermometer, electrical resistance thermometer, thermister, thermocouple, pyrometer).
4.3 Errors in temperature measurement i. Instrument error – calibration error, ambient temperature error, hysteresis error. ii. Thermal probe error – time lay error, conduction error, radiation error, velocity of error.
4.4 Calibration of temperature measuring instruments - Direct comparison method, fixed point method.
5 | 5 | Flow and Pressure measurement | (A) Flow measurement 5.1 Classify flow measuring devices as Volumetric or primary or quantity meters and rate of flow or velocity or secondary meters, their function and examples. | 14 |  |  |  | NA
5.2 Volumetric or Primary meters - Bellow type meter, Rotating impeller type meter, Positive displacement meter, Rotating lobe meter, Nutating disc meter Their function, working principle, sketches, applications and limitations.
5.3 Rate of flow or Secondary meters – Obstruction meters • Orifice • Venturimeter • Flow nozzles, • Variable area meter • Pitot tube Velocity probes • Total pressure probes, • Static pressure probes,• Direction sensing probes Special meters • Turbine meter • Hot wire anemometer, Magnetic flow meter Their function, working principle, sketches, applications and limitations.
(B) Pressure Measurement 5.4 Classify pressure measuring devices – Manometer, Elastic gauges • Diaphragm • Pressure capsules, • Bellows • Pressure springs Electronic pressure sensors/Transducers - Resistance, Inductance and Capacitive type
5.5 There function, principle, working, sketches, applications and limitations of above pressure measuring devices.
5.6 Low pressure gauges- McLeod Gauge, Pirani gauge.
5.7 Calibration of pressure gauges using Dead weight Pressure tester.
6 | 6 | Strain measurements | 6.1 Strain Measurement- Stress-strain relation, types of strain gauges, strain gauge materials | 12
6.2 Resistance strain gauge- bonded and unbonded, types (foil, semiconductor, wire wound gauges),
6.3 Selection and installation of strain gauges, load cells, Strain rosettes
|  |  | total | 80